## Slide 1: Alaska Crime Laboratory & The Breath Test Section

## Slide 2: Laboratory Structure
Department of Public Safety
Alaska Scientific Crime Detection Laboratory
Physical Disciplines
Latent Fingerprints
Firearms and Toolmarks
Footwear Impressions
Footwear Intelligence
Crime Scene Response
Biological Disciplines
Biological Screening
DNA
Combined DNA Index System (CODIS)
Chemistry Disciplines
Seized Drugs
Blood Alcohol*
Breath Alcohol
*Blood Alcohol analysis does NOT include testing for drugs in blood. This service is performed at the Alaska Public Health Lab (Anchorage).
Division of Victim Assistance and Forensic Science

## Slide 3: Breath Test Section Structure
Scientific Director of Blood and Breath Alcohol
Currently Charles Foster
Chosen by DPS Commissioner
Forensic Scientists
Carlie Glaister
Colleen O’Bryant
Derek Walton
Kaija Swisher
Forensic Technician
Paulyne Catacutan
Breath Program contact e-mail
Dps.scdl.toxicology@alaska.gov
Breath Test Supervisors
Breath Test Operators

## Slide 4: Course Expectations
You are expected to participate in the learning process
Ask questions!
Use the Breath Test Operator and Supervisor Manual as a study guide
The Alaska Breath Test Program wants you to succeed!
Class is 4 hours in length

## Slide 5: Examination format
75% or higher to Pass
Closed book exam completed independently without the use of course material.
Electronic Examination via ACADIS Portal
Special needs or accommodations - Talk with an instructors during a break

## Slide 6: Breath Test Section Services
Maintain current evidential breath test instrument – DataMaster DMT
  In service, statewide, since 2011
  Approximately 85 DMTs in the field at any time
Maintain Quality Assurance records associated with the DataMaster
Train Breath Test Supervisors
Provide breath test expert witness testimony

## Slide 7: Breath Test Section Website
Home - CrimeLab - Statewide - Alaska Department of Public Safety

## Slide 8: Breath Test Section Website
Verification of Calibration (VOC) Records
  Each instrument, organized by year, back to 2011
Certification/Calibration/Change in Instrument Status Records
  Each instrument, organized by year, back to 2011
Breath Test Records – Subject Test Data (PDF)
  No identifying information
Agency breath test operator (BTO) lists
Most current versions of Breath Alcohol Forms
  Change in Instrument Status Forms
  Change in Operator Status Forms
  BTO Certification/Recertification Request Form
Shortcut to Breath Test Section Email
Current Breath Test Operator and Supervisor Manual

## Slide 9: Alaska Breath Test Operator and Supervisor Manual

## Slide 10: Breath Test Operator and Supervisor Manual

## Slide 11: Breath Test Operator and Supervisor Manual
Purpose
  Training guide for the approved evidential breath test instruments to be used by Alaska breath test operators and supervisors.
  Not a comprehensive manual for impaired driving enforcement/DUI processing.
  Use to supplement agency policies and procedures.
  **Often used as a document in court**

## Slide 12: Manual Sections
Breath Alcohol Program Contact Information
Abbreviations/Definitions
Alaska Breath Alcohol Program
Ethanol
Evidential Breath Test Instrument
Subject Tests
Quality Assurance
Breath Test Supervisor Duties
Status Messages and Troubleshooting
References
Status and Test Codes
Revision History

## Slide 13: Breath Alcohol Program Contact Information
BREATH ALCOHOL PROGRAM CONTACT INFORMATION
Alaska Breath Alcohol Program
Alaska Scientific Crime Detection Laboratory
4805 Dr. Martin Luther King Jr Avenue
Anchorage, Alaska 99507
(907) 269-5740 (front desk)
Charles Foster
Assistant Chief,
Scientific Director of the Breath and Blood Alcohol Testing Program
(907) 269-5670
Carlie Glaister, Forensic Scientist
(907) 269-5689
Colleen O’Bryant, Forensic Scientist
(907) 269-5783
Derek Walton, Forensic Scientist
(907) 269-5628
Paulyne Catacutan, Forensic Technician
(907) 269-3746
Breath Program E-mail
dps.scdl.toxicology@Alaska.gov

## Slide 14: Abbreviations and Definitions

## Slide 15: Alaska Breath Alcohol Program
Alaska Administrative Code sections
13 AAC 63.050. Breath test operator certification
13 AAC 63.060. Breath test operator recertification
13 AAC 63.070. Breath test supervisor certification and duties
13 AAC 63.080. Breath test supervisor recertification

## Slide 16: Alaska Breath Alcohol Program
Accreditation and Staffing
The breath alcohol program (also known as Forensic Toxicology - Calibration) is a forensic service provided by the Crime Lab. The breath alcohol program is accredited under ANAB ISO 17025 as a calibration laboratory.
The program consists of the Scientific Director of the breath and blood alcohol testing program, Forensic Scientists, and Forensic Technicians who operate within the laboratory Quality Assurance Program.

## Slide 17: Alaska Breath Alcohol Program
Breath Alcohol Program Responsibilities
The duties of the breath alcohol program include breath test instrument calibration, adjustment, and maintenance; administration of records; training, opinions and interpretations, and court testimony.
The breath program provides training to law enforcement officers through instruction of the Breath Test Supervisor course. The breath program also creates training content to be provided to prospective Breath Test Operators via instruction from Breath Test Supervisors. Breath Test Supervisors have primary responsibility for providing training to Breath Test Operators in their local area.

## Slide 18: Alaska Breath Alcohol Program
Legal Requirements (from Alaska Criminal and Traffic Law Manual)
13 AAC 63.050. Breath test operator certification
(a) To be certified as an operator of a breath test instrument, an applicant must successfully
complete a course of instruction approved by the scientific director. The course must include at
least four hours of instruction in the theory of alcohol physiology, toxicology, pharmacology,
instrument maintenance, practical operation, and administrative procedures. The applicant must also
obtain a score of 75 percent or higher on a written examination, approved by the scientific
director, covering the content of the course.
(b) The scientific director shall, in his or her discretion, issue an operator certificate and
operator identification number to an applicant upon receipt of written notice from a supervisor
that the applicant has successfully completed a course of training and examination that meets the
requirements of this section. An operator certificate expires at 11:59 p.m. on December 31 of the
third year after the year issued.

## Slide 19: Alaska Breath Alcohol Program
Legal Requirements (from Alaska Criminal and Traffic Law Manual)
13 AAC 63.060. Breath test operator recertification
(a) To renew a breath test operator's certification, a breath test operator must, during the period
of the operator's current certification,
(I) complete a refresher course approved by the scientific director that includes at least
four hours of instruction and training; and
(2) obtain a score of 75 percent or higher on a written examination, approved by the scientific
director, covering the content of the refresher course.
(b) The breath test supervisor shall submit a written notice to the scientific director that an
operator seeking to renew a breath test operator's certificate has complied with the requirements
of (a) of this section. Upon receipt of the notice, the scientific director shall renew the breath
test operator certificate and operator identification number.
(c) A breath test operator certificate that has been renewed under this section expires at 11:59
p.m. on December 31 of the third year after the year issued.

## Slide 20: Alaska Breath Alcohol Program
Legal Requirements (from Alaska Criminal and Traffic Law Manual)
13 AAC 63.070. Breath test supervisor certification and duties
(a) To be certified as a breath test supervisor, an applicant must
(I) complete a 22-hour supervisor training course approved by the scientific director; the course
must include instruction in the theory of alcohol physiology, pharmacology, toxicology, instrument
function, instrument maintenance, practical operation, administrative procedures, legal
considerations, and other pertinent subjects as required by the scientific director;
(2) possess a valid instructor's certificate issued by the Alaska Police Standards Council under 13
AAC 87.040; and
(3) obtain a score of 75 percent or higher on a written examination, approved by the
scientific director, covering the content of the training course.
(b) The scientific director shall issue a breath test supervisor certificate and an identification
number to an applicant if the applicant has met the requirements of (a) of this section. A breath
test supervisor certificate expires at 11:59 p.m. on December 31 of the third year after the year
issued.
(c) In addition to performing all the duties of an operator, a breath test supervisor may train
breath test operators and perform routine maintenance on a breath test instrument. A supervisor
certificate is also an operator's certificate.
(d) A breath test supervisor shall inform the scientific director of the location of breath test
instruments and the status of breath test operators under the breath test supervisor's supervision.

## Slide 21: Alaska Breath Alcohol Program
Legal Requirements (from Alaska Criminal and Traffic Law Manual)
13 AAC 63.080. Breath test supervisor recertification
(a) To renew a breath test supervisor's certification, a supervisor must, during the period of the
supervisor's current certification,
(1) complete a refresher course approved by the scientific director that includes at least 15 hours
of instruction and training; and
(2) obtain a score of 75 percent or higher on a written examination, approved by the scientific
director, covering the content of the refresher course.
(b) lf the breath test supervisor has met the requirements of (a) of this section, that supervisor
may request in writing a renewed certificate from the scientific director. Upon receipt of the
request, the scientific director shall renew the certificate.
(c) A breath test supervisor certificate that is renewed under this section expires at 11:59 p.m.
on December 31 of the third year after the year issued.

## Slide 22: Alaska Breath Alcohol Program
Breath Test Instruments Assigned to Agencies
Evidential breath test instruments are the property of the State of Alaska. Limited exceptions exist where agencies own their own instrument. The Scientific Director entrusts State-owned instruments to approved agencies contingent on their responsible care and use. The lab will provide functional instruments to each approved location and supply approved external standard tanks, as needed.
The Scientific Director reserves the right to remove any State-owned instrument from an agency if the Agency Responsibilities are not being met. The Scientific Director reserves the right to revoke the Calibration of any instrument maintained under the State of Alaska Breath Alcohol Program at any time. The Scientific Director must notify an agency in writing of either of these decisions and the justification no later than the time of occurrence.

## Slide 23: Alaska Breath Alcohol Program
Agency Responsibilities
Breath Test Supervisors are responsible for day-to-day operation and upkeep of the instruments at
their location and are accountable for problems arising from neglect and/or misuse. Agencies are
responsible for maintaining a current BTS for each instrument location, although one BTS may
supervise multiple locations in close proximity. If a BTS is temporarily not available at an
agency, the agency is responsible for designating a point of contact (preferably a trained BTO) to
communicate with the Crime Lab until such time as an officer is certified as a BTS to serve that
location.
Additionally, agencies are expected to:
  • Protect and securely store State-issued instruments
  • Maintain and operate the instrument in accordance with the Breath Alcohol Program requirements
  in this document
  • Connect the instrument to a functioning analog modem line. The line must be:
  o Dedicated to the DataMaster and no other devices
  o Data-capable (like a fax machine)
  • Promptly communicate with the Crime Lab to report instrument issues or respond to Crime Lab
  communication

## Slide 24: Alaska Breath Alcohol Program
Breath Alcohol Program Website
The website is the best place to locate current Breath Test Operator training materials, controlled forms such as the Change in Instrument Status form, and a great deal of discovery information such as Verification of Calibration (VOC) records and current lists of trained operators in the State of Alaska.

## Slide 25: Ethanol
Alcohol Proof
Standard Drinks
Unit Conversions
Convert Serum and Plasma Results to Whole Blood
Relationship of Blood Alcohol to Breath Alcohol
  Blood:Breath Ratio Overview
  Breath Measurement Instrument
  Per Se Limits for Breath and Blood
Impairing Effects of Ethanol
  Scientific Studies on Alcohol Impairment
Alcohol in the Human Body
  Absorption
  Distribution
  Elimination

## Slide 26: Section 4 – Evidential Breath Test Instruments
DataMaster DMT
  General Features
  Home Screen and Icons
  Analytical Principle
  Systems of the DataMaster

## Slide 27: Subject Tests
Pre-test procedures
  13 AAC 63.040. Procedure for breath test analysis
Instrument Preparation
Subject test sequence
Subject test record
Sample acceptance parameters
Non-Compelted Tests
External standards as part of a subject test sequence

## Slide 28: Quality Assurance
Quality Assurance
  Types and Functions of Quality Assurance Measures
    Diagnostic Check
    Blank Test
    Internal Standard
    External Standard
    Verification of Calibration (VOC)

## Slide 29: Breath Test Supervisor Duties
Duties and Responsibilities of Breath Test Supervisors
  Instrument Transportation and Set up
  Instrument location within the agency
  Operator Training
  Breath Test Supervisor Forms

## Slide 30: Breath Test Supervisor Duties
Breath Test Supplies
    Mouthpieces
    Replacement dry gas tanks
Status Messages and Troubleshooting Guide

## Slide 31: Status Messages and Troubelshooting
The DataMaster DMT is designed to monitor itself (e.g., sample chamber temperature) as well as the external environment (blank test, radio frequency antenna) to ensure that it is operating within manufacturer and breath alcohol program requirements. If the instrument detects a condition outside of established parameters, any active test will be aborted, and a status message will be displayed.
This section describes possible causes of common status messages and possible methods of resolution. Status messages are part of the normal operation of the instrument; however, repeated or frequent status messages may indicate a performance issue requiring attention from the lab.

## Slide 32: Troubleshooting Suggestsions

## Slide 33: References
Alaska Criminal and Traffic Law Manual
Medicolegal Aspects of Alcohol
Garriott, 4th Edition, 2003
Basic Science of Evidential Breath Alcohol Testing
Fusco/Radomski, 2003

## Slide 34: Section 9 – Status Codes
When a report of all breath alcohol tests on an instrument is run by the laboratory, the status messages are listed by numerical code.
  This list gives the key to the status codes

## Slide 35: Status and Test Codes

## Slide 36
The most current version of this Manual can be found on the Crime Lab Website
Home - CrimeLab - Statewide - Alaska Department of Public Safety